{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":88,"n_cols":88,"rows_kept":88,"cut":false,"hidden":false,"merged":[[11,0,11,1],[6,0,6,1],[8,0,8,1],[1,0,1,1],[2,0,2,1],[4,0,5,1],[7,0,7,1]]}
[]
["Wire size >>",null,"#18",null,"#16",null,"#14",null,"#12",null,"#10"]
["ohms / ft >>",null,8.0800000000000004E-3,null,5.0800000000000003E-3,null,3.1900000000000001E-3,null,2.0100000000000001E-3,null,1.2600000000000001E-3]
[]
["Entries",null,null,null,"Formula","VD = 2 x L x R x I"]
[null,null,null,"L=","Length of lead one way"]
["Wire resistance",null,2.0100000000000001E-3,"R=","Resistance factor in ohms per foot"]
["(copy from above)",null,"↗","I=","Load current in amps"]
["Enter voltage",null,115,null,null,"OK"]
[null,null,null,null,null,"Caution"]
[null,null,null,null,null,"NO"]
["Wire length one way>",null,50,75,100,125,150,175,200,250,300,350,400,450]
[null,"Amps"]
[null,1,{"$f":"($U69/$C$9)","v":1.7478260869565219E-3},{"$f":"($V69/$C$9)","v":2.6217391304347824E-3},{"$f":"($W69/$C$9)","v":3.4956521739130438E-3},{"$f":"($X69/$C$9)","v":4.3695652173913052E-3},{"$f":"($Y69/$C$9)","v":5.2434782608695649E-3},{"$f":"($Z69/$C$9)","v":6.1173913043478263E-3},{"$f":"($AA69/$C$9)","v":6.9913043478260876E-3},{"$f":"($AB69/$C$9)","v":8.7391304347826104E-3},{"$f":"($AC69/$C$9)","v":1.048695652173913E-2},{"$f":"($AD69/$C$9)","v":1.2234782608695653E-2},{"$f":"($AE69/$C$9)","v":1.3982608695652175E-2},{"$f":"($AF69/$C$9)","v":1.5730434782608698E-2}]
[null,2,3.4956521739130438E-3,5.2434782608695649E-3,6.9913043478260876E-3,8.7391304347826104E-3,1.048695652173913E-2,1.2234782608695653E-2,1.3982608695652175E-2,1.7478260869565221E-2,2.0973913043478259E-2,2.4469565217391305E-2,2.7965217391304351E-2,3.1460869565217396E-2]
[null,3,5.2434782608695649E-3,7.8652173913043473E-3,1.048695652173913E-2,1.3108695652173916E-2,1.5730434782608695E-2,1.8352173913043477E-2,2.0973913043478259E-2,2.6217391304347831E-2,3.1460869565217389E-2,3.6704347826086954E-2,4.1947826086956519E-2,4.7191304347826091E-2]
[null,4,6.9913043478260876E-3,1.048695652173913E-2,1.3982608695652175E-2,1.7478260869565221E-2,2.0973913043478259E-2,2.4469565217391305E-2,2.7965217391304351E-2,3.4956521739130442E-2,4.1947826086956519E-2,4.893913043478261E-2,5.5930434782608701E-2,6.2921739130434792E-2]
[null,5,8.7391304347826104E-3,1.3108695652173912E-2,1.7478260869565221E-2,2.1847826086956523E-2,2.6217391304347824E-2,3.058695652173913E-2,3.4956521739130442E-2,4.3695652173913045E-2,5.2434782608695649E-2,6.1173913043478259E-2,6.9913043478260883E-2,7.8652173913043494E-2]
[null,6,1.048695652173913E-2,1.5730434782608695E-2,2.0973913043478259E-2,2.6217391304347831E-2,3.1460869565217389E-2,3.6704347826086954E-2,4.1947826086956519E-2,5.2434782608695663E-2,6.2921739130434778E-2,7.3408695652173908E-2,8.3895652173913038E-2,9.4382608695652181E-2]
[null,7,1.2234782608695653E-2,1.8352173913043477E-2,2.4469565217391305E-2,3.0586956521739136E-2,3.6704347826086954E-2,4.2821739130434786E-2,4.893913043478261E-2,6.1173913043478273E-2,7.3408695652173908E-2,8.5643478260869571E-2,9.787826086956522E-2,0.11011304347826087]
[null,8,1.3982608695652175E-2,2.0973913043478259E-2,2.7965217391304351E-2,3.4956521739130442E-2,4.1947826086956519E-2,4.893913043478261E-2,5.5930434782608701E-2,6.9913043478260883E-2,8.3895652173913038E-2,9.787826086956522E-2,0.1118608695652174,0.12584347826086958]
[null,9,1.5730434782608698E-2,2.3595652173913042E-2,3.1460869565217396E-2,3.9326086956521747E-2,4.7191304347826084E-2,5.5056521739130435E-2,6.2921739130434792E-2,7.8652173913043494E-2,9.4382608695652168E-2,0.11011304347826087,0.12584347826086958,0.14157391304347827]
[null,10,1.7478260869565221E-2,2.6217391304347824E-2,3.4956521739130442E-2,4.3695652173913045E-2,5.2434782608695649E-2,6.1173913043478259E-2,6.9913043478260883E-2,8.739130434782609E-2,0.1048695652173913,0.12234782608695652,0.13982608695652177,0.15730434782608699]
[null,11,1.922608695652174E-2,2.883913043478261E-2,3.845217391304348E-2,4.8065217391304357E-2,5.767826086956522E-2,6.7291304347826084E-2,7.6904347826086961E-2,9.6130434782608715E-2,0.11535652173913044,0.13458260869565217,0.15380869565217392,0.17303478260869565]
[null,12,2.0973913043478259E-2,3.1460869565217389E-2,4.1947826086956519E-2,5.2434782608695663E-2,6.2921739130434778E-2,7.3408695652173908E-2,8.3895652173913038E-2,0.10486956521739133,0.12584347826086956,0.14681739130434782,0.16779130434782608,0.18876521739130436]
[null,13,2.2721739130434782E-2,3.4082608695652175E-2,4.5443478260869564E-2,5.6804347826086961E-2,6.816521739130435E-2,7.9526086956521747E-2,9.0886956521739129E-2,0.11360869565217392,0.1363304347826087,0.15905217391304349,0.18177391304347826,0.20449565217391308]
[null,14,2.4469565217391305E-2,3.6704347826086954E-2,4.893913043478261E-2,6.1173913043478273E-2,7.3408695652173908E-2,8.5643478260869571E-2,9.787826086956522E-2,0.12234782608695655,0.14681739130434782,0.17128695652173914,0.19575652173913044,0.22022608695652174]
[null,15,2.6217391304347828E-2,3.932608695652174E-2,5.2434782608695656E-2,6.5543478260869564E-2,7.865217391304348E-2,9.1760869565217396E-2,0.10486956521739131,0.13108695652173913,0.15730434782608696,0.18352173913043479,0.20973913043478262,0.23595652173913045]
[null,16,2.7965217391304351E-2,4.1947826086956519E-2,5.5930434782608701E-2,6.9913043478260883E-2,8.3895652173913038E-2,9.787826086956522E-2,0.1118608695652174,0.13982608695652177,0.16779130434782608,0.19575652173913044,0.2237217391304348,0.25168695652173917]
[null,17,2.9713043478260873E-2,4.4569565217391305E-2,5.9426086956521747E-2,7.4282608695652175E-2,8.913913043478261E-2,0.10399565217391304,0.11885217391304349,0.14856521739130435,0.17827826086956522,0.20799130434782609,0.23770434782608699,0.26741739130434788]
[null,18,3.1460869565217396E-2,4.7191304347826084E-2,6.2921739130434792E-2,7.8652173913043494E-2,9.4382608695652168E-2,0.11011304347826087,0.12584347826086958,0.15730434782608699,0.18876521739130434,0.22022608695652174,0.25168695652173917,0.28314782608695654]
[null,19,3.3208695652173915E-2,4.9813043478260863E-2,6.6417391304347831E-2,8.3021739130434799E-2,9.9626086956521726E-2,0.11623043478260869,0.13283478260869566,0.1660434782608696,0.19925217391304345,0.23246086956521739,0.26566956521739132,0.29887826086956526]
[null,20,3.4956521739130442E-2,5.2434782608695649E-2,6.9913043478260883E-2,8.739130434782609E-2,0.1048695652173913,0.12234782608695652,0.13982608695652177,0.17478260869565218,0.20973913043478259,0.24469565217391304,0.27965217391304353,0.31460869565217398]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,170,null,180,null,190,null,200,null,210,null,220,null,230,null,240,null,250,null,260,null,270,null,280,null,290,null,300,null,310,null,320,null,330,null,340,null,350,null,360,null,370,null,380,null,390,null,400,null,410,null,420,null,430,null,440,null,450,null,460,null,470,null,480,null,490,null,500]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"2*U$45*$C$7*$B14","v":0.68340000000000001},{"$f":"($U47/$C$9)","v":5.9426086956521742E-3},{"$f":"2*W$45*$C$7*$B14","v":0.72360000000000002},{"$f":"($W47/$C$9)","v":6.2921739130434784E-3},{"$f":"2*Y$45*$C$7*$B14","v":0.76380000000000003},{"$f":"($Y47/$C$9)","v":6.6417391304347826E-3},{"$f":"2*AA$45*$C$7*$B14","v":0.80400000000000005},{"$f":"($AA47/$C$9)","v":6.9913043478260876E-3},{"$f":"2*AC$45*$C$7*$B14","v":0.84420000000000006},{"$f":"($AC47/$C$9)","v":7.3408695652173919E-3},{"$f":"2*AE$45*$C$7*$B14","v":0.88440000000000007},{"$f":"($AE47/$C$9)","v":7.6904347826086961E-3},{"$f":"2*AG$45*$C$7*$B14","v":0.92459999999999998},{"$f":"($AG47/$C$9)","v":8.0400000000000003E-3},{"$f":"2*AI$45*$C$7*$B14","v":0.96479999999999999},{"$f":"($AI47/$C$9)","v":8.3895652173913045E-3},{"$f":"2*AK$45*$C$7*$B14","v":1.0050000000000001},{"$f":"($AK47/$C$9)","v":8.7391304347826104E-3},{"$f":"2*AM$45*$C$7*$B14","v":1.0452000000000001},{"$f":"($AM47/$C$9)","v":9.0886956521739146E-3},{"$f":"2*AO$45*$C$7*$B14","v":1.0854000000000001},{"$f":"($AO47/$C$9)","v":9.4382608695652188E-3},{"$f":"2*AQ$45*$C$7*$B14","v":1.1255999999999999},{"$f":"($AQ47/$C$9)","v":9.7878260869565213E-3},{"$f":"2*AS$45*$C$7*$B14","v":1.1657999999999999},{"$f":"($AS47/$C$9)","v":1.0137391304347826E-2},{"$f":"2*AU$45*$C$7*$B14","v":1.206},{"$f":"($AU47/$C$9)","v":1.048695652173913E-2},{"$f":"2*AW$45*$C$7*$B14","v":1.2462},{"$f":"($AW47/$C$9)","v":1.0836521739130434E-2},{"$f":"2*AY$45*$C$7*$B14","v":1.2864},{"$f":"($AY47/$C$9)","v":1.118608695652174E-2},{"$f":"2*BA$45*$C$7*$B14","v":1.3266},{"$f":"($BA47/$C$9)","v":1.1535652173913044E-2},{"$f":"2*BC$45*$C$7*$B14","v":1.3668},{"$f":"($BC47/$C$9)","v":1.1885217391304348E-2},{"$f":"2*BE$45*$C$7*$B14","v":1.407},{"$f":"($BE47/$C$9)","v":1.2234782608695653E-2},{"$f":"2*BG$45*$C$7*$B14","v":1.4472},{"$f":"($BG47/$C$9)","v":1.2584347826086957E-2},{"$f":"2*BI$45*$C$7*$B14","v":1.4874000000000001},{"$f":"($BI47/$C$9)","v":1.2933913043478261E-2},{"$f":"2*BK$45*$C$7*$B14","v":1.5276000000000001},{"$f":"($BK47/$C$9)","v":1.3283478260869565E-2},{"$f":"2*BM$45*$C$7*$B14","v":1.5678000000000001},{"$f":"($BM47/$C$9)","v":1.3633043478260871E-2},{"$f":"2*BO$45*$C$7*$B14","v":1.6080000000000001},{"$f":"($BO47/$C$9)","v":1.3982608695652175E-2},{"$f":"2*BQ$45*$C$7*$B14","v":1.6482000000000001},{"$f":"($BQ47/$C$9)","v":1.4332173913043479E-2},{"$f":"2*BS$45*$C$7*$B14","v":1.6884000000000001},{"$f":"($BS47/$C$9)","v":1.4681739130434784E-2},{"$f":"2*BU$45*$C$7*$B14","v":1.7286000000000001},{"$f":"($BU47/$C$9)","v":1.5031304347826088E-2},{"$f":"2*BW$45*$C$7*$B14","v":1.7688000000000001},{"$f":"($BW47/$C$9)","v":1.5380869565217392E-2},{"$f":"2*BY$45*$C$7*$B14","v":1.8090000000000002},{"$f":"($BY47/$C$9)","v":1.5730434782608698E-2},{"$f":"2*CA$45*$C$7*$B14","v":1.8492},{"$f":"($CA47/$C$9)","v":1.6080000000000001E-2},{"$f":"2*CC$45*$C$7*$B14","v":1.8894},{"$f":"($CC47/$C$9)","v":1.6429565217391303E-2},{"$f":"2*CE$45*$C$7*$B14","v":1.9296},{"$f":"($CE47/$C$9)","v":1.6779130434782609E-2},{"$f":"2*CG$45*$C$7*$B14","v":1.9698},{"$f":"($CG47/$C$9)","v":1.7128695652173911E-2},{"$f":"2*CI$45*$C$7*$B14","v":2.0100000000000002},{"$f":"($CI47/$C$9)","v":1.7478260869565221E-2}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.3668,1.1885217391304348E-2,1.4472,1.2584347826086957E-2,1.5276000000000001,1.3283478260869565E-2,1.6080000000000001,1.3982608695652175E-2,1.6884000000000001,1.4681739130434784E-2,1.7688000000000001,1.5380869565217392E-2,1.8492,1.6080000000000001E-2,1.9296,1.6779130434782609E-2,2.0100000000000002,1.7478260869565221E-2,2.0904000000000003,1.8177391304347829E-2,2.1708000000000003,1.8876521739130438E-2,2.2511999999999999,1.9575652173913043E-2,2.3315999999999999,2.0274782608695651E-2,2.4119999999999999,2.0973913043478259E-2,2.4923999999999999,2.1673043478260868E-2,2.5728,2.237217391304348E-2,2.6532,2.3071304347826088E-2,2.7336,2.3770434782608697E-2,2.8140000000000001,2.4469565217391305E-2,2.8944000000000001,2.5168695652173913E-2,2.9748000000000001,2.5867826086956522E-2,3.0552000000000001,2.656695652173913E-2,3.1356000000000002,2.7266086956521742E-2,3.2160000000000002,2.7965217391304351E-2,3.2964000000000002,2.8664347826086959E-2,3.3768000000000002,2.9363478260869567E-2,3.4572000000000003,3.0062608695652176E-2,3.5376000000000003,3.0761739130434784E-2,3.6180000000000003,3.1460869565217396E-2,3.6983999999999999,3.2160000000000001E-2,3.7787999999999999,3.2859130434782606E-2,3.8592,3.3558260869565218E-2,3.9396,3.4257391304347823E-2,4.0200000000000005,3.4956521739130442E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.0502000000000002,1.7827826086956523E-2,2.1707999999999998,1.8876521739130434E-2,2.2914000000000003,1.9925217391304352E-2,2.4119999999999999,2.0973913043478259E-2,2.5326000000000004,2.2022608695652177E-2,2.6532,2.3071304347826088E-2,2.7738,2.4119999999999999E-2,2.8944000000000001,2.5168695652173913E-2,3.0150000000000006,2.6217391304347831E-2,3.1356000000000002,2.7266086956521742E-2,3.2562000000000006,2.8314782608695657E-2,3.3767999999999998,2.9363478260869564E-2,3.4973999999999998,3.0412173913043478E-2,3.6179999999999999,3.1460869565217389E-2,3.7385999999999999,3.2509565217391304E-2,3.8592,3.3558260869565218E-2,3.9798,3.4606956521739132E-2,4.1004000000000005,3.5655652173913047E-2,4.2210000000000001,3.6704347826086954E-2,4.3415999999999997,3.7753043478260868E-2,4.4622000000000002,3.8801739130434783E-2,4.5828000000000007,3.9850434782608704E-2,4.7034000000000002,4.0899130434782612E-2,4.8239999999999998,4.1947826086956519E-2,4.9446000000000003,4.299652173913044E-2,5.0652000000000008,4.4045217391304355E-2,5.1858000000000004,4.5093913043478262E-2,5.3064,4.6142608695652176E-2,5.4270000000000005,4.7191304347826091E-2,5.5476000000000001,4.8239999999999998E-2,5.6681999999999997,4.9288695652173913E-2,5.7888000000000002,5.0337391304347827E-2,5.9093999999999998,5.1386086956521734E-2,6.0300000000000011,5.2434782608695663E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.7336,2.3770434782608697E-2,2.8944000000000001,2.5168695652173913E-2,3.0552000000000001,2.656695652173913E-2,3.2160000000000002,2.7965217391304351E-2,3.3768000000000002,2.9363478260869567E-2,3.5376000000000003,3.0761739130434784E-2,3.6983999999999999,3.2160000000000001E-2,3.8592,3.3558260869565218E-2,4.0200000000000005,3.4956521739130442E-2,4.1808000000000005,3.6354782608695659E-2,4.3416000000000006,3.7753043478260875E-2,4.5023999999999997,3.9151304347826085E-2,4.6631999999999998,4.0549565217391302E-2,4.8239999999999998,4.1947826086956519E-2,4.9847999999999999,4.3346086956521736E-2,5.1456,4.474434782608696E-2,5.3064,4.6142608695652176E-2,5.4672000000000001,4.7540869565217393E-2,5.6280000000000001,4.893913043478261E-2,5.7888000000000002,5.0337391304347827E-2,5.9496000000000002,5.1735652173913044E-2,6.1104000000000003,5.3133913043478261E-2,6.2712000000000003,5.4532173913043484E-2,6.4320000000000004,5.5930434782608701E-2,6.5928000000000004,5.7328695652173918E-2,6.7536000000000005,5.8726956521739135E-2,6.9144000000000005,6.0125217391304352E-2,7.0752000000000006,6.1523478260869569E-2,7.2360000000000007,6.2921739130434792E-2,7.3967999999999998,6.4320000000000002E-2,7.5575999999999999,6.5718260869565212E-2,7.7183999999999999,6.7116521739130436E-2,7.8792,6.8514782608695646E-2,8.0400000000000009,6.9913043478260883E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4169999999999998,2.9713043478260866E-2,3.6180000000000003,3.1460869565217396E-2,3.819,3.3208695652173915E-2,4.0200000000000005,3.4956521739130442E-2,4.2210000000000001,3.6704347826086954E-2,4.4220000000000006,3.845217391304348E-2,4.6230000000000002,4.02E-2,4.8239999999999998,4.1947826086956519E-2,5.0250000000000004,4.3695652173913045E-2,5.2260000000000009,4.5443478260869571E-2,5.4270000000000005,4.7191304347826091E-2,5.6280000000000001,4.893913043478261E-2,5.8289999999999997,5.0686956521739129E-2,6.0299999999999994,5.2434782608695649E-2,6.2309999999999999,5.4182608695652175E-2,6.4320000000000004,5.5930434782608701E-2,6.633,5.767826086956522E-2,6.8339999999999996,5.9426086956521733E-2,7.0350000000000001,6.1173913043478259E-2,7.2360000000000007,6.2921739130434792E-2,7.4370000000000003,6.4669565217391312E-2,7.6379999999999999,6.6417391304347831E-2,7.8390000000000004,6.816521739130435E-2,8.0400000000000009,6.9913043478260883E-2,8.2409999999999997,7.1660869565217389E-2,8.4420000000000002,7.3408695652173908E-2,8.6430000000000007,7.5156521739130441E-2,8.8440000000000012,7.6904347826086961E-2,9.0450000000000017,7.8652173913043494E-2,9.2460000000000004,8.0399999999999999E-2,9.4469999999999992,8.2147826086956519E-2,9.6479999999999997,8.3895652173913038E-2,9.8490000000000002,8.5643478260869571E-2,10.050000000000001,8.739130434782609E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1004000000000005,3.5655652173913047E-2,4.3415999999999997,3.7753043478260868E-2,4.5828000000000007,3.9850434782608704E-2,4.8239999999999998,4.1947826086956519E-2,5.0652000000000008,4.4045217391304355E-2,5.3064,4.6142608695652176E-2,5.5476000000000001,4.8239999999999998E-2,5.7888000000000002,5.0337391304347827E-2,6.0300000000000011,5.2434782608695663E-2,6.2712000000000003,5.4532173913043484E-2,6.5124000000000013,5.6629565217391313E-2,6.7535999999999996,5.8726956521739128E-2,6.9947999999999997,6.0824347826086957E-2,7.2359999999999998,6.2921739130434778E-2,7.4771999999999998,6.5019130434782607E-2,7.7183999999999999,6.7116521739130436E-2,7.9596,6.9213913043478265E-2,8.200800000000001,7.1311304347826093E-2,8.4420000000000002,7.3408695652173908E-2,8.6831999999999994,7.5506086956521737E-2,8.9244000000000003,7.7603478260869566E-2,9.1656000000000013,7.9700869565217408E-2,9.4068000000000005,8.1798260869565223E-2,9.6479999999999997,8.3895652173913038E-2,9.8892000000000007,8.599304347826088E-2,10.130400000000002,8.8090434782608709E-2,10.371600000000001,9.0187826086956524E-2,10.6128,9.2285217391304353E-2,10.854000000000001,9.4382608695652181E-2,11.0952,9.6479999999999996E-2,11.336399999999999,9.8577391304347825E-2,11.5776,0.10067478260869565,11.8188,0.10277217391304347,12.060000000000002,0.10486956521739133]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.7838000000000003,4.1598260869565216E-2,5.0651999999999999,4.4045217391304348E-2,5.3466000000000005,4.6492173913043479E-2,5.6280000000000001,4.893913043478261E-2,5.9094000000000007,5.1386086956521748E-2,6.1908000000000003,5.3833043478260872E-2,6.4722,5.6279999999999997E-2,6.7535999999999996,5.8726956521739128E-2,7.035000000000001,6.1173913043478273E-2,7.3164000000000007,6.3620869565217397E-2,7.5978000000000012,6.6067826086956535E-2,7.8791999999999991,6.8514782608695646E-2,8.1605999999999987,7.096173913043477E-2,8.4420000000000002,7.3408695652173908E-2,8.7233999999999998,7.5855652173913046E-2,9.0047999999999995,7.8302608695652171E-2,9.2862000000000009,8.0749565217391309E-2,9.5676000000000005,8.3196521739130433E-2,9.8490000000000002,8.5643478260869571E-2,10.1304,8.8090434782608695E-2,10.411799999999999,9.053739130434782E-2,10.693200000000001,9.2984347826086958E-2,10.974600000000001,9.5431304347826096E-2,11.256,9.787826086956522E-2,11.537400000000002,0.10032521739130436,11.818800000000001,0.1027721739130435,12.100200000000001,0.10521913043478262,12.381600000000001,0.10766608695652174,12.663,0.11011304347826087,12.9444,0.11255999999999999,13.2258,0.11500695652173913,13.507199999999999,0.11745391304347826,13.788600000000001,0.11990086956521739,14.070000000000002,0.12234782608695655]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.4672000000000001,4.7540869565217393E-2,5.7888000000000002,5.0337391304347827E-2,6.1104000000000003,5.3133913043478261E-2,6.4320000000000004,5.5930434782608701E-2,6.7536000000000005,5.8726956521739135E-2,7.0752000000000006,6.1523478260869569E-2,7.3967999999999998,6.4320000000000002E-2,7.7183999999999999,6.7116521739130436E-2,8.0400000000000009,6.9913043478260883E-2,8.361600000000001,7.2709565217391317E-2,8.6832000000000011,7.5506086956521751E-2,9.0047999999999995,7.8302608695652171E-2,9.3263999999999996,8.1099130434782604E-2,9.6479999999999997,8.3895652173913038E-2,9.9695999999999998,8.6692173913043472E-2,10.2912,8.9488695652173919E-2,10.6128,9.2285217391304353E-2,10.9344,9.5081739130434786E-2,11.256,9.787826086956522E-2,11.5776,0.10067478260869565,11.8992,0.10347130434782609,12.220800000000001,0.10626782608695652,12.542400000000001,0.10906434782608697,12.864000000000001,0.1118608695652174,13.185600000000001,0.11465739130434784,13.507200000000001,0.11745391304347827,13.828800000000001,0.1202504347826087,14.150400000000001,0.12304695652173914,14.472000000000001,0.12584347826086958,14.7936,0.12864,15.1152,0.13143652173913042,15.4368,0.13423304347826087,15.7584,0.13702956521739129,16.080000000000002,0.13982608695652177]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.1505999999999998,5.3483478260869563E-2,6.5124000000000004,5.6629565217391306E-2,6.8742000000000001,5.9775652173913042E-2,7.2360000000000007,6.2921739130434792E-2,7.5978000000000003,6.6067826086956521E-2,7.9596000000000009,6.9213913043478265E-2,8.3214000000000006,7.2360000000000008E-2,8.6831999999999994,7.5506086956521737E-2,9.0450000000000017,7.8652173913043494E-2,9.4068000000000005,8.1798260869565223E-2,9.7686000000000011,8.4944347826086966E-2,10.1304,8.8090434782608695E-2,10.4922,9.1236521739130438E-2,10.853999999999999,9.4382608695652168E-2,11.2158,9.7528695652173911E-2,11.5776,0.10067478260869565,11.939399999999999,0.10382086956521738,12.3012,0.10696695652173913,12.663,0.11011304347826087,13.024800000000001,0.11325913043478261,13.386600000000001,0.11640521739130436,13.7484,0.11955130434782608,14.110200000000001,0.12269739130434783,14.472000000000001,0.12584347826086958,14.8338,0.1289895652173913,15.195600000000001,0.13213565217391304,15.557400000000001,0.13528173913043479,15.919200000000002,0.13842782608695653,16.281000000000002,0.14157391304347827,16.642800000000001,0.14472000000000002,17.0046,0.14786608695652173,17.366399999999999,0.15101217391304347,17.728200000000001,0.15415826086956522,18.090000000000003,0.15730434782608699]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.8339999999999996,5.9426086956521733E-2,7.2360000000000007,6.2921739130434792E-2,7.6379999999999999,6.6417391304347831E-2,8.0400000000000009,6.9913043478260883E-2,8.4420000000000002,7.3408695652173908E-2,8.8440000000000012,7.6904347826086961E-2,9.2460000000000004,8.0399999999999999E-2,9.6479999999999997,8.3895652173913038E-2,10.050000000000001,8.739130434782609E-2,10.452000000000002,9.0886956521739143E-2,10.854000000000001,9.4382608695652181E-2,11.256,9.787826086956522E-2,11.657999999999999,0.10137391304347826,12.059999999999999,0.1048695652173913,12.462,0.10836521739130435,12.864000000000001,0.1118608695652174,13.266,0.11535652173913044,13.667999999999999,0.11885217391304347,14.07,0.12234782608695652,14.472000000000001,0.12584347826086958,14.874000000000001,0.12933913043478262,15.276,0.13283478260869566,15.678000000000001,0.1363304347826087,16.080000000000002,0.13982608695652177,16.481999999999999,0.14332173913043478,16.884,0.14681739130434782,17.286000000000001,0.15031304347826088,17.688000000000002,0.15380869565217392,18.090000000000003,0.15730434782608699,18.492000000000001,0.1608,18.893999999999998,0.16429565217391304,19.295999999999999,0.16779130434782608,19.698,0.17128695652173914,20.100000000000001,0.17478260869565218]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.5174000000000003,6.5368695652173917E-2,7.9596,6.9213913043478265E-2,8.4017999999999997,7.3059130434782613E-2,8.8440000000000012,7.6904347826086961E-2,9.2862000000000009,8.0749565217391309E-2,9.7284000000000006,8.4594782608695657E-2,10.1706,8.8440000000000005E-2,10.6128,9.2285217391304353E-2,11.055000000000001,9.6130434782608715E-2,11.497200000000001,9.9975652173913049E-2,11.939400000000001,0.1038208695652174,12.381599999999999,0.10766608695652173,12.823799999999999,0.11151130434782608,13.266,0.11535652173913044,13.7082,0.11920173913043478,14.150399999999999,0.12304695652173912,14.592600000000001,0.1268921739130435,15.034800000000001,0.13073739130434783,15.477,0.13458260869565217,15.9192,0.13842782608695653,16.3614,0.14227304347826086,16.803599999999999,0.14611826086956523,17.245800000000003,0.14996347826086959,17.688000000000002,0.15380869565217392,18.130200000000002,0.15765391304347828,18.572400000000002,0.16149913043478262,19.014600000000002,0.16534434782608698,19.456800000000001,0.16918956521739131,19.899000000000001,0.17303478260869565,20.341200000000001,0.17688000000000001,20.7834,0.18072521739130434,21.2256,0.18457043478260871,21.6678,0.18841565217391304,22.110000000000003,0.19226086956521743]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.200800000000001,7.1311304347826093E-2,8.6831999999999994,7.5506086956521737E-2,9.1656000000000013,7.9700869565217408E-2,9.6479999999999997,8.3895652173913038E-2,10.130400000000002,8.8090434782608709E-2,10.6128,9.2285217391304353E-2,11.0952,9.6479999999999996E-2,11.5776,0.10067478260869565,12.060000000000002,0.10486956521739133,12.542400000000001,0.10906434782608697,13.024800000000003,0.11325913043478263,13.507199999999999,0.11745391304347826,13.989599999999999,0.12164869565217391,14.472,0.12584347826086956,14.9544,0.13003826086956521,15.4368,0.13423304347826087,15.9192,0.13842782608695653,16.401600000000002,0.14262260869565219,16.884,0.14681739130434782,17.366399999999999,0.15101217391304347,17.848800000000001,0.15520695652173913,18.331200000000003,0.15940173913043482,18.813600000000001,0.16359652173913045,19.295999999999999,0.16779130434782608,19.778400000000001,0.17198608695652176,20.260800000000003,0.17618086956521742,20.743200000000002,0.18037565217391305,21.2256,0.18457043478260871,21.708000000000002,0.18876521739130436,22.1904,0.19295999999999999,22.672799999999999,0.19715478260869565,23.155200000000001,0.20134956521739131,23.637599999999999,0.20554434782608694,24.120000000000005,0.20973913043478265]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.8841999999999999,7.7253913043478256E-2,9.4068000000000005,8.1798260869565223E-2,9.9294000000000011,8.634260869565219E-2,10.452,9.0886956521739129E-2,10.974600000000001,9.5431304347826096E-2,11.497200000000001,9.9975652173913049E-2,12.0198,0.10452,12.542400000000001,0.10906434782608697,13.065000000000001,0.11360869565217392,13.587600000000002,0.11815304347826089,14.110200000000003,0.12269739130434784,14.6328,0.12724173913043477,15.1554,0.13178608695652175,15.677999999999999,0.1363304347826087,16.200600000000001,0.14087478260869565,16.723199999999999,0.14541913043478261,17.245799999999999,0.14996347826086956,17.7684,0.15450782608695651,18.291,0.15905217391304349,18.813600000000001,0.16359652173913045,19.336200000000002,0.1681408695652174,19.858800000000002,0.17268521739130438,20.381399999999999,0.1772295652173913,20.904,0.18177391304347826,21.426600000000001,0.18631826086956521,21.949200000000001,0.19086260869565219,22.471800000000002,0.19540695652173914,22.994400000000002,0.1999513043478261,23.517000000000003,0.20449565217391308,24.0396,0.20904,24.562200000000001,0.21358434782608696,25.084800000000001,0.21812869565217394,25.607399999999998,0.22267304347826086,26.130000000000003,0.22721739130434784]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.5676000000000005,8.3196521739130433E-2,10.1304,8.8090434782608695E-2,10.693200000000001,9.2984347826086958E-2,11.256,9.787826086956522E-2,11.818800000000001,0.1027721739130435,12.381600000000001,0.10766608695652174,12.9444,0.11255999999999999,13.507199999999999,0.11745391304347826,14.070000000000002,0.12234782608695655,14.632800000000001,0.12724173913043479,15.195600000000002,0.13213565217391307,15.758399999999998,0.13702956521739129,16.321199999999997,0.14192347826086954,16.884,0.14681739130434782,17.4468,0.15171130434782609,18.009599999999999,0.15660521739130434,18.572400000000002,0.16149913043478262,19.135200000000001,0.16639304347826087,19.698,0.17128695652173914,20.2608,0.17618086956521739,20.823599999999999,0.18107478260869564,21.386400000000002,0.18596869565217392,21.949200000000001,0.19086260869565219,22.512,0.19575652173913044,23.074800000000003,0.20065043478260872,23.637600000000003,0.20554434782608699,24.200400000000002,0.21043826086956524,24.763200000000001,0.21533217391304349,25.326000000000001,0.22022608695652174,25.8888,0.22511999999999999,26.451599999999999,0.23001391304347826,27.014399999999998,0.23490782608695651,27.577200000000001,0.23980173913043479,28.140000000000004,0.24469565217391309]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10.250999999999999,8.913913043478261E-2,10.854000000000001,9.4382608695652181E-2,11.457000000000001,9.9626086956521739E-2,12.06,0.10486956521739131,12.663,0.11011304347826087,13.266000000000002,0.11535652173913045,13.869,0.1206,14.472,0.12584347826086956,15.075000000000001,0.13108695652173913,15.678000000000003,0.13633043478260873,16.281000000000002,0.14157391304347827,16.884,0.14681739130434782,17.486999999999998,0.15206086956521739,18.09,0.15730434782608696,18.692999999999998,0.1625478260869565,19.295999999999999,0.16779130434782608,19.899000000000001,0.17303478260869565,20.501999999999999,0.17827826086956522,21.105,0.18352173913043479,21.708000000000002,0.18876521739130436,22.311,0.19400869565217391,22.914000000000001,0.19925217391304348,23.517000000000003,0.20449565217391308,24.12,0.20973913043478262,24.723000000000003,0.21498260869565219,25.326000000000001,0.22022608695652174,25.929000000000002,0.22546956521739131,26.532000000000004,0.23071304347826091,27.135000000000002,0.23595652173913045,27.738,0.2412,28.341000000000001,0.24644347826086957,28.943999999999999,0.25168695652173911,29.547000000000001,0.25693043478260869,30.150000000000002,0.26217391304347826]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10.9344,9.5081739130434786E-2,11.5776,0.10067478260869565,12.220800000000001,0.10626782608695652,12.864000000000001,0.1118608695652174,13.507200000000001,0.11745391304347827,14.150400000000001,0.12304695652173914,14.7936,0.12864,15.4368,0.13423304347826087,16.080000000000002,0.13982608695652177,16.723200000000002,0.14541913043478263,17.366400000000002,0.1510121739130435,18.009599999999999,0.15660521739130434,18.652799999999999,0.16219826086956521,19.295999999999999,0.16779130434782608,19.9392,0.17338434782608694,20.5824,0.17897739130434784,21.2256,0.18457043478260871,21.8688,0.19016347826086957,22.512,0.19575652173913044,23.155200000000001,0.20134956521739131,23.798400000000001,0.20694260869565217,24.441600000000001,0.21253565217391304,25.084800000000001,0.21812869565217394,25.728000000000002,0.2237217391304348,26.371200000000002,0.22931478260869567,27.014400000000002,0.23490782608695654,27.657600000000002,0.24050086956521741,28.300800000000002,0.24609391304347827,28.944000000000003,0.25168695652173917,29.587199999999999,0.25728000000000001,30.230399999999999,0.26287304347826085,30.8736,0.26846608695652174,31.5168,0.27405913043478258,32.160000000000004,0.27965217391304353]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,11.617800000000001,0.10102434782608696,12.3012,0.10696695652173913,12.9846,0.1129095652173913,13.668000000000001,0.11885217391304349,14.351400000000002,0.12479478260869567,15.034800000000001,0.13073739130434783,15.7182,0.13668,16.401599999999998,0.14262260869565216,17.085000000000001,0.14856521739130435,17.768400000000003,0.15450782608695654,18.451800000000002,0.1604504347826087,19.135199999999998,0.16639304347826084,19.8186,0.17233565217391306,20.501999999999999,0.17827826086956522,21.185400000000001,0.18422086956521741,21.8688,0.19016347826086957,22.552199999999999,0.19610608695652174,23.235600000000002,0.20204869565217393,23.919,0.20799130434782609,24.602399999999999,0.21393391304347825,25.285800000000002,0.21987652173913044,25.969200000000001,0.22581913043478261,26.6526,0.23176173913043477,27.336000000000002,0.23770434782608699,28.019400000000001,0.24364695652173915,28.702800000000003,0.24958956521739134,29.386200000000002,0.2555321739130435,30.069600000000001,0.26147478260869567,30.753000000000004,0.26741739130434788,31.436399999999999,0.27335999999999999,32.119799999999998,0.27930260869565215,32.803199999999997,0.28524521739130432,33.486600000000003,0.29118782608695654,34.17,0.2971304347826087]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,12.3012,0.10696695652173913,13.024800000000001,0.11325913043478261,13.7484,0.11955130434782608,14.472000000000001,0.12584347826086958,15.195600000000001,0.13213565217391304,15.919200000000002,0.13842782608695653,16.642800000000001,0.14472000000000002,17.366399999999999,0.15101217391304347,18.090000000000003,0.15730434782608699,18.813600000000001,0.16359652173913045,19.537200000000002,0.16988869565217393,20.2608,0.17618086956521739,20.984400000000001,0.18247304347826088,21.707999999999998,0.18876521739130434,22.4316,0.19505739130434782,23.155200000000001,0.20134956521739131,23.878799999999998,0.20764173913043477,24.602399999999999,0.21393391304347825,25.326000000000001,0.22022608695652174,26.049600000000002,0.22651826086956522,26.773200000000003,0.23281043478260871,27.4968,0.23910260869565217,28.220400000000001,0.24539478260869566,28.944000000000003,0.25168695652173917,29.6676,0.2579791304347826,30.391200000000001,0.26427130434782609,31.114800000000002,0.27056347826086957,31.838400000000004,0.27685565217391306,32.562000000000005,0.28314782608695654,33.285600000000002,0.28944000000000003,34.0092,0.29573217391304346,34.732799999999997,0.30202434782608695,35.456400000000002,0.30831652173913043,36.180000000000007,0.31460869565217398]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,12.9846,0.1129095652173913,13.7484,0.11955130434782608,14.5122,0.12619304347826088,15.276000000000002,0.13283478260869566,16.0398,0.13947652173913044,16.803600000000003,0.14611826086956525,17.567399999999999,0.15276000000000001,18.331199999999999,0.15940173913043476,19.095000000000002,0.1660434782608696,19.858800000000002,0.17268521739130438,20.622600000000002,0.17932695652173916,21.386399999999998,0.18596869565217389,22.150199999999998,0.19261043478260867,22.913999999999998,0.19925217391304345,23.677799999999998,0.20589391304347823,24.441600000000001,0.21253565217391304,25.205400000000001,0.21917739130434782,25.969200000000001,0.22581913043478261,26.733000000000001,0.23246086956521739,27.4968,0.23910260869565217,28.2606,0.24574434782608695,29.0244,0.25238608695652176,29.788200000000003,0.25902782608695657,30.552000000000003,0.26566956521739132,31.315800000000003,0.27231130434782613,32.079599999999999,0.27895304347826089,32.843400000000003,0.2855947826086957,33.607200000000006,0.29223652173913051,34.371000000000002,0.29887826086956526,35.134799999999998,0.30552000000000001,35.898600000000002,0.31216173913043482,36.662399999999998,0.31880347826086952,37.426200000000001,0.32544521739130439,38.190000000000005,0.3320869565217392]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,13.667999999999999,0.11885217391304347,14.472000000000001,0.12584347826086958,15.276,0.13283478260869566,16.080000000000002,0.13982608695652177,16.884,0.14681739130434782,17.688000000000002,0.15380869565217392,18.492000000000001,0.1608,19.295999999999999,0.16779130434782608,20.100000000000001,0.17478260869565218,20.904000000000003,0.18177391304347829,21.708000000000002,0.18876521739130436,22.512,0.19575652173913044,23.315999999999999,0.20274782608695652,24.119999999999997,0.20973913043478259,24.923999999999999,0.2167304347826087,25.728000000000002,0.2237217391304348,26.532,0.23071304347826088,27.335999999999999,0.23770434782608693,28.14,0.24469565217391304,28.944000000000003,0.25168695652173917,29.748000000000001,0.25867826086956525,30.552,0.26566956521739132,31.356000000000002,0.2726608695652174,32.160000000000004,0.27965217391304353,32.963999999999999,0.28664347826086956,33.768000000000001,0.29363478260869563,34.572000000000003,0.30062608695652177,35.376000000000005,0.30761739130434784,36.180000000000007,0.31460869565217398,36.984000000000002,0.3216,37.787999999999997,0.32859130434782607,38.591999999999999,0.33558260869565215,39.396000000000001,0.34257391304347828,40.200000000000003,0.34956521739130436]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"2*C$12*$C$7*$B14","v":0.20100000000000001},{"$f":"2*D$12*$C$7*$B14","v":0.30149999999999999},{"$f":"2*E$12*$C$7*$B14","v":0.40200000000000002},{"$f":"2*F$12*$C$7*$B14","v":0.50250000000000006},{"$f":"2*G$12*$C$7*$B14","v":0.60299999999999998},{"$f":"2*H$12*$C$7*$B14","v":0.70350000000000001},{"$f":"2*I$12*$C$7*$B14","v":0.80400000000000005},{"$f":"2*J$12*$C$7*$B14","v":1.0050000000000001},{"$f":"2*K$12*$C$7*$B14","v":1.206},{"$f":"2*L$12*$C$7*$B14","v":1.407},{"$f":"2*M$12*$C$7*$B14","v":1.6080000000000001},{"$f":"2*N$12*$C$7*$B14","v":1.8090000000000002}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.40200000000000002,0.60299999999999998,0.80400000000000005,1.0050000000000001,1.206,1.407,1.6080000000000001,2.0100000000000002,2.4119999999999999,2.8140000000000001,3.2160000000000002,3.6180000000000003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.60299999999999998,0.90449999999999997,1.206,1.5075000000000003,1.8089999999999999,2.1105,2.4119999999999999,3.0150000000000006,3.6179999999999999,4.2210000000000001,4.8239999999999998,5.4270000000000005]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.80400000000000005,1.206,1.6080000000000001,2.0100000000000002,2.4119999999999999,2.8140000000000001,3.2160000000000002,4.0200000000000005,4.8239999999999998,5.6280000000000001,6.4320000000000004,7.2360000000000007]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0050000000000001,1.5074999999999998,2.0100000000000002,2.5125000000000002,3.0149999999999997,3.5175000000000001,4.0200000000000005,5.0250000000000004,6.0299999999999994,7.0350000000000001,8.0400000000000009,9.0450000000000017]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.206,1.8089999999999999,2.4119999999999999,3.0150000000000006,3.6179999999999999,4.2210000000000001,4.8239999999999998,6.0300000000000011,7.2359999999999998,8.4420000000000002,9.6479999999999997,10.854000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.407,2.1105,2.8140000000000001,3.5175000000000005,4.2210000000000001,4.9245000000000001,5.6280000000000001,7.035000000000001,8.4420000000000002,9.8490000000000002,11.256,12.663]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.6080000000000001,2.4119999999999999,3.2160000000000002,4.0200000000000005,4.8239999999999998,5.6280000000000001,6.4320000000000004,8.0400000000000009,9.6479999999999997,11.256,12.864000000000001,14.472000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.8090000000000002,2.7134999999999998,3.6180000000000003,4.5225000000000009,5.4269999999999996,6.3315000000000001,7.2360000000000007,9.0450000000000017,10.853999999999999,12.663,14.472000000000001,16.281000000000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.0100000000000002,3.0149999999999997,4.0200000000000005,5.0250000000000004,6.0299999999999994,7.0350000000000001,8.0400000000000009,10.050000000000001,12.059999999999999,14.07,16.080000000000002,18.090000000000003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.2110000000000003,3.3165,4.4220000000000006,5.5275000000000007,6.633,7.7385000000000002,8.8440000000000012,11.055000000000001,13.266,15.477,17.688000000000002,19.899000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.4119999999999999,3.6179999999999999,4.8239999999999998,6.0300000000000011,7.2359999999999998,8.4420000000000002,9.6479999999999997,12.060000000000002,14.472,16.884,19.295999999999999,21.708000000000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.613,3.9194999999999998,5.226,6.5325000000000006,7.8389999999999995,9.1455000000000002,10.452,13.065000000000001,15.677999999999999,18.291,20.904,23.517000000000003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.8140000000000001,4.2210000000000001,5.6280000000000001,7.035000000000001,8.4420000000000002,9.8490000000000002,11.256,14.070000000000002,16.884,19.698,22.512,25.326000000000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.0150000000000001,4.5225,6.03,7.5375000000000005,9.0449999999999999,10.5525,12.06,15.075000000000001,18.09,21.105,24.12,27.135000000000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.2160000000000002,4.8239999999999998,6.4320000000000004,8.0400000000000009,9.6479999999999997,11.256,12.864000000000001,16.080000000000002,19.295999999999999,22.512,25.728000000000002,28.944000000000003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4170000000000003,5.1254999999999997,6.8340000000000005,8.5425000000000004,10.250999999999999,11.9595,13.668000000000001,17.085000000000001,20.501999999999999,23.919,27.336000000000002,30.753000000000004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.6180000000000003,5.4269999999999996,7.2360000000000007,9.0450000000000017,10.853999999999999,12.663,14.472000000000001,18.090000000000003,21.707999999999998,25.326000000000001,28.944000000000003,32.562000000000005]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.8190000000000004,5.7284999999999995,7.6380000000000008,9.5475000000000012,11.456999999999999,13.3665,15.276000000000002,19.095000000000002,22.913999999999998,26.733000000000001,30.552000000000003,34.371000000000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.0200000000000005,6.0299999999999994,8.0400000000000009,10.050000000000001,12.059999999999999,14.07,16.080000000000002,20.100000000000001,24.119999999999997,28.14,32.160000000000004,36.180000000000007]

{"sheet":"Sheet2","index":1,"n_rows":25,"n_cols":25,"rows_kept":25,"cut":false,"hidden":false,"merged":[[3,2,3,4]]}
[]
[null,null,"Wire size"]
[]
[null,null,"Wire length in feet one way"]
[null,"Amps",50,70,90,110,130,150,170,190,210,230,250,270,290,310,330,350,370,390,410,430,450,470,490]
[null,1,{"$f":"Sheet1!C14","v":1.7478260869565219E-3},{"$f":"($E6/$C$15)","v":0}]
[null,2,{"$f":"Sheet1!C15","v":3.4956521739130438E-3},{"$f":"($E7/$C$15)","v":0}]
[null,3,{"$f":"Sheet1!C16","v":5.2434782608695649E-3},0]
[null,4,{"$f":"($C9/$C$15)","v":0.45454545454545459},0]
[null,5,0.54545454545454541,0]
[null,6,0.63636363636363635,0]
[null,7,0.72727272727272729,0]
[null,8,0.81818181818181823,0]
[null,9,0.90909090909090917,0]
[null,10,1,0]
[null,11,1.048695652173913E-2,0]
[null,12,1.1360869565217391E-2,0]
[null,13,1.2234782608695653E-2,0]
[null,14,1.3108695652173914E-2,0]
[null,15,1.3982608695652175E-2,0]
[null,16,1.4856521739130437E-2,0]
[null,17,1.5730434782608698E-2,0]
[null,18,1.6604347826086958E-2,0]
[null,19,1.7478260869565221E-2,0]
[null,20,null,0]